[image: image16.png]Certificate of Registration

Wenzhou Sifuweler Electrician Co.Ltd.

et st Kiguang i Zone L T Yuar Gy, oo o, Ziary
Bt v o i i Co. 1)

Proeton s anses 20 . Frun Gt Yaars A, G i T,
ars Gy e Co oo

Environmental Management System
i s i o s o

GBIT 24001-2016/1SO 14001:2015

T o Sl 5 s i s .

e ety

) )

=

P—

D

Rl

panmuE

R

et P e iy




           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604   

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET

PRODUCT NAME:   Onfloor Aluminum Profile   

PRODUCT No.:      FZ-532-B          

[image: image1.jpg]-~

SAFEWIRE

FZ-532B-S



[image: image2.jpg]SAFEWIRE

FZ-532B-B




Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

(E-mail): happyhe@safewirele.com

(WEB): http://www.safewirele.com
Technical parameters & characteristic :

Technical parameters :
	Serial No.
	Parameter
	Description

	1
	Power supply side
	Two side

	2
	Item
	FZ-532B

	3
	Panel Material
	Aluminum alloy

	4
	Surface finish
	Painted/Brushed Oxygenated

	5
	Height of product(mm)
	647.5（Body:577.5 Base:40 top:30 customizable）

	7
	Dimension (mm)
	160*220

	8
	Capacity of modules(mm) 
	45*45/45*22.5(mm) modules and 86 type switch socket 

	9
	Configuration
	Power outlet+Data outlet or USB charging+HDMI+VGA+Audio socket : Customized as required


[image: image14.png]SAFEWIRE



[image: image15.png]Certificate of Registration

Wenzhou Sifuwei Electric Co, Ltd

et s Kuar i Zae, L T Yosarg Gy, Werho o, Ziry
B v g e s 5. 1)

Froeton Bsess st 20 . Fruns G Yanans A, g i T
ears G s Co P

Environmental Management System
o i P e o

GBIT 24001-2016/1SO 14001:2015

) )

T g Z‘§E )\

s

Rl

nammE

R i i ey 0 o it

e T





product superiority:   

1.Aesthetically Pleasing and Neat: Features an integrated design that effectively manages cables, keeping desktops/floors tidy.

2.Double-sided installation with manufacturing processes compliant with ISO 14001 standards, ensuring stable product quality.
3.Versatile Application Scenarios: Suitable for office desks/study tables, TV cabinets/entertainment units,bedside tables, kitchen countertops, student dormitories/apartments, etc.
4.Highly Integrated Functions: Modern vertical sockets serve as all-in-one solutions with diversified power outlets and abundant USB charging ports, meeting the needs of various electrical devices.
Product Show:        
[image: image3.png]



[image: image4.png]



[image: image5.jpg]



[image: image6.jpg]-~

SNAFEWIRE





Regarding the wires, our company recommends using copper-core wires with a diameter of 2.5mm or larger. It is essential to select high-quality copper wires that comply with national standards (such as GB/T 5023), and avoid using inferior or aluminum wires.
Module Introduction
Available for 45*45 and 22.5*45 mm type international sockets or modules types:

[image: image7.png]SAFEWIRE

45 Type Function Accessories

a . 8 o
v so so oo

LRRES = o fe)
g @ © © B 9 ° |9 [

RUSCuS el o sl SNCucks  giSeoss  OMegpmn)  Adowcst  Vedowos  Seowcis  USS

& lof |8 m |





Available for 86 type switch sockets or modules types:

[image: image8.png]



The image is for reference only. Please rely mainly on the actual object.
External dimensions drawing (unit :mm)     [image: image9.png]


[image: image10.png]



The parameters are for reference only. Please refer to the actual product
Installation Process

1.Open the package and remove the screws that connect the product.

2.Pass the cable through the hole in the mounting plate and fix the mounting plate to the floor surface.

3.Connect the electrical installation / information / multimedia modules of the 45x45 standard.

4.Install the connected modules in the profile.

5.Fix the cover to the profile (screws are included).
[image: image11.png]


[image: image12.png]



Exploded View of Column-Mounted Workstation (with Modules)
[image: image13.jpg]> < —




Attentions:

1.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.
2. All dimension quoted are nominal only. Drawings , images and text are for illustrative purposes only and product details and dimension are subject to change without notice.
Safety Warning:
Read all instructions carefully before use and keep this manual for future reference. Failure to follow these warnings may result in electric shock, fire, and/or serious injury.
【DANGER - Electrical Connection】
1.This is a Class I product and must be reliably earthed (grounded).

2.This product must be installed and wired by a qualified electrician.

3.Before performing any installation or maintenance, ensure the mains supply is switched off and the circuit fuses are removed or the circuit breakers are switched off.

4.Disasembly or repair by unqualified personnel is strictly prohibited. There are no user-serviceable parts inside.When disconnecting the plug, grip the plug body itself. Do not pull the cord.Place the power strip where it is inaccessible to children.

5.Unplug the power strip from the wall outlet during prolonged periods of non-use.

The company reserves the right to modify this documentation without prior notice." and "The company shall not be held liable for any damage resulting from misuse, abuse, unauthorized modification, or failure to observe these safety warnings.
  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com
[image: image16.png]

