Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:     Desktop socket

PRODUCT No.:      FZ-515

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | FZ-517 | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | Desktop socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Silver/black/white | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Material | Zinc Alloy/Steel |
| 2 | Panel Material | Aluminum alloy |
| 3 | Surface finish | Electroplated/Painted/Power sprayed |
| 4 | Panel Dimension(mm) | 170*123 |
| 5 | Cutout(mm) | 148*115 |
| 6 | Height of product(mm) | 97.6 |
| 7 | Bottom box size(mm) | 146*113*95 |
| 8 | Bottom box material | Plastic |
| 9 | Capacity of modules /Interface size | 4 ways 45*45mm modules |
| 10 | Configuration | Power outlet+Data outlet or USB charging : Customized as required |
| 11 | Cable length | 1.5m, 2m,2m or required length |
| 12 | Available modules | 45*45mm Type series |

Application:

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

Product Show:

Features:

- With damping device, press button and pop up with slow speed;

- With screws and complete plastic bottom box,more easy to installation;

- The panel is by aluminum alloy of integrate diecasting structure, more reliable surface protect from scratch ;

- Silver or black painting finish of optional surface .

Available for 45*45mm type international sockets or modules types:

FZ-515 Outline drawing:

Package:20 Pcs inner box into a master carton.Poly bag with box packing.

Installation Process

- Cut out as specification sheet.

- put the bottom box into cut-out hole,punch the self-tapping screw and fix the bottom box.

- Remove plastic frame fixing socket modules.Assembly the socket or data Jack into the plastic frame and press frame ensure them combine tightly.

- Keep socket modules connected by inner wire (it should be copper core 1.5mm29~20 wire and length should be suitable).Then earthing and ensure inner wire tightly with modules.For fast connector terminal block,Just insert wire into block.

- Phone line ,TV receiving line sound box wire（it should thin wire）Just the wire length and tighten stop screw comathen.

- Put the panel on the bottom box and it with the hole.

Attentions:

1.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

2. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

Safety Warning:

1)This is a class I product and must be earthed

2)This product must be installed/wired by a qualified electrician

3)before installation/maintnance ,ensure the mains supply is switched off and the circuit fuses are removed or circuit breakers switch off

4)For indoor use only

# Text boxes

LVD test report

CE certificate by TUV,Germany

（1）

（2）

（4）

（3）

（6）

（5）

Screw

Body and Module

Screw

Base box

Table

(Image is for reference only.)