Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:     Desktop socket

PRODUCT No.:     FZ-PFB02

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Model: FZ-PFB02

Brand Name : Safewire or OEM brand

Place of origin : Zhejiang ,Wenzhou,China

Rated Current :10-25A

Type: Grommets                    Current Type: AC

HS Code：8536690000              Frequency:50Hz~60Hz

Grounding：Standard grounding      Voltage:90~260V

Color :Black or sliver                Market standard: Customized

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | PC |
| 2 | Bottom box Material | Enginning PC |
| 4 | Panel Dimension(mm) | 95*94 |
| 5 | Cutout(mm) | Ø80 |
| 6 | Capacity of modules / Interface size | With two power outlet+dual port USB charger 2.1A |
| 7 | Cable length | 1,2 Mts cable 100% cooper with plug is optional |

Package:

Application:

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

- Features:

1)Application: Embedded in Sofa or table furniture;

2). IP44 protection level;

3). Slide coverplate surface finish by Power painting;

4) With two power outlet+dual port USB charger

- Product Show:

FZ-501 Outline drawing:

Available sockets or modules types: