Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:     Desktop socket

PRODUCT No.:     FZ-TB-B

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Model: FZ-TB-B

Brand Name : Safewire or OEM brand

Place of origin : Zhejiang ,Wenzhou,China

Rated Current :16A

Type: desktop socket                     Current Type: AC

HS Code：8536690000                Frequency:50Hz~60Hz

Grounding：Standard grounding        Voltage:250V

Color :Black/Silver                    Market standard: Customized

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | Aluminum alloy/PC |
| 2 | Surface finish | Painted/Brushed Oxygenated |
| 3 | Capacity of modules /Interface size | 50*50mm black modules/45*45mm white modules |
| 4 | Cable length | 1.5m, 2m,3m or required length |
| 5 | Available modules | 6/8/10 ways modules |
| 6 | Plug and cable wire | GST 3 pole socket or power plug cable |

Package:

Application:

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

Features:

- Double function switch combine indicator and control;

- Wall mounting facility is optional;

3).Support wide range of power and data accessories available to meet all requirements;

4).The length of product & cord cable are customized by requirement.

Product Show:

FZ-TB-B Outline drawing:

Available sockets or modules types:

Other specification should be subject to confirmation from Safewire