**PRODUCT NAME: Raised floor box**

**PRODUCT No.:**  **HTD-626AS-86**



包含要素：(针对架空地板，86型模块)

1、产品参数（包含手动添加与系统自带）

2、产品卖点（Features）

3、产品展示

4、产品勾线图、

5、安装说明

6、产品注意事项与警示语

7、产品包装图

8、产品应用场景图

9、架空地板的特点

10、架空地板对插座的要求

11、公司介绍

12、产品线

13、CQC检测中心

14、证书

15、参展的活动照片

16、FAQ

**Model: HTD-626AS-86**

(Brand Name : Safewire or OEM brand

Place of origin : Zhejiang ,Wenzhou,China

Type:raised floor box

Color :**Black**

Voltage:95~260V Market standard: Customized Grounding：Standard grounding Frequency:50Hz~60Hz

HS Code：8536690000 Current Type: AC

|  |  |  |
| --- | --- | --- |
| **Serial No.** | **Parameter** | **Description** |
| **1** | **Panel materials** | Plastic |
| **2** | ****Material**** | **ABS, galvanised steel** |
| **3** | ****Overall Frame & Lid (mm)**** | **320.5\*230.5** |
| **4** | ****Compact floor cut-out(mm)**** | **(305-310)\*(210-215)\*(76-110)** |
| **5** | ****Thickness of concavity/Frame lid recess (mm)**** | **8** |
| **6** | ****Installation depth(mm)**** | 70mm~110mm |
| **7** | **Plug top clearance(mm)** | 13~38 |
| **8** | **Available modules** | **3 dul BS socket(86\*146mm)** |
| **9** | **Accessories plates** | 90\*80mm |
| **10** | **G.W.** | 14.2KG/Carton |
| **11** | **N.W.** | 13.2KG/Carton |

***Application***:****



The raised floor feature

1. Easy to repair the line, easy to replace the aging line.



1. Strong permeability, easy to use air conditioning and ventilation



3.Easy to install, disassemble, reduce the cost of rewiring



The raised floor to socket requirements:

1. Environmental protection.

2.Fire prevention/Corrosion resistant/high strength.

3.Good interchangeability with raised floors.Easy to installation.

4.The laying height of the floor is 35mm ~150mm

***Features*:**

1. Optional floor:Applicable for access and concrete floor

2. Safety lid:Frame &lid from ABS plastic ,static pressure over 1000N.

3. Protected opening system: Easy grip recessed lifting handle.

4. BS standard receptacle: screw fixing of three\* twins 86 type or 6\* 86\*86

switch socket bridge accessories.

5. Cavity of floor: 8mm and lid is overlapping the edge of the floor.

6.Adjustable height of bottom box:76~111mm.


Remark: For concrete floor:


To be with additional metal box item#BG-HTD626


Product display:




***HTD-626AS Outline drawing:***







***Installation instructions:***





(2)

(1)




(4)

(3)



(6)

(5)



(7)

1.Floor box(For concrete floor)

2.Steel armored conduit(For trunking system/Access floor).

3.Put under floor box into cut out and adjust height(For raised floor) .

4.Installing Heavy current/Data systems

5.Connecting and earthing.

6.Assembly and plug into underfloor box.

7.Single outlet

***Attentions:***

1.The sealing ring is closely attached to the smooth surface to prevent water leakage.

2.When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

3.Please close cover when not used.

***Safety Warning***：

1.This is a class I product and must be earthed

2.This product must be installed/wired by a qualified electrician

3.For indoor use only.

4.For concrete floor/access floor.base on different bottom box.

**Package**:12 Pcs inner box into a master carton.Poly bag with box packing.

******