PRODUCT NAME:     Raised floor box

PRODUCT No.:     HTD-626AS-86

包含要素：(针对架空地板，86型模块)

1、产品参数（包含手动添加与系统自带）

2、产品卖点（Features）

3、产品展示

4、产品勾线图、

5、安装说明

6、产品注意事项与警示语

7、产品包装图

8、产品应用场景图

9、架空地板的特点

10、架空地板对插座的要求

11、公司介绍

12、产品线

13、CQC检测中心

14、证书

15、参展的活动照片

16、FAQ

Model: HTD-626AS-86

(Brand Name : Safewire or OEM brand

Place of origin : Zhejiang ,Wenzhou,China

Type:raised floor box

Color :Black

Voltage:95~260V                  Market standard: Customized Grounding：Standard grounding          Frequency:50Hz~60Hz

HS Code：8536690000                  Current Type: AC

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel materials | Plastic |
| 2 | Material | ABS, galvanised steel |
| 3 | Overall Frame & Lid (mm) | 320.5*230.5 |
| 4 | Compact floor cut-out(mm) | (305-310)*(210-215)*(76-110) |
| 5 | Thickness of concavity/Frame lid recess (mm) | 8 |
| 6 | Installation depth(mm) | 70mm~110mm |
| 7 | Plug top clearance(mm) | 13~38 |
| 8 | Available modules | 3 dul BS socket(86*146mm) |
| 9 | Accessories plates | 90*80mm |
| 10 | G.W. | 14.2KG/Carton |
| 11 | N.W. | 13.2KG/Carton |

Application:

The raised floor feature

- Easy to repair the line, easy to replace the aging line.

- Strong permeability, easy to use air conditioning and ventilation

3.Easy to install, disassemble, reduce the cost of rewiring

The raised floor to socket requirements:

- Environmental protection.

2.Fire prevention/Corrosion resistant/high strength.

3.Good interchangeability with raised floors.Easy to installation.

4.The laying height of the floor is 35mm ~150mm

Features:

1. Optional floor:Applicable for access and concrete floor

2. Safety lid:Frame &lid from ABS plastic ,static pressure over 1000N.

3. Protected opening system: Easy grip recessed lifting handle.

4. BS standard receptacle: screw fixing of three* twins 86 type or 6* 86*86

switch socket bridge accessories.

5. Cavity of floor: 8mm and lid is overlapping the edge of the floor.

6.Adjustable height of bottom box:76~111mm.

Remark: For concrete floor:

To be with additional metal box item#BG-HTD626

Product display:

- HTD-626AS Outline drawing:

Installation instructions:

(2)

(1)

(4)

(3)

(6)

(5)

(7)

- 1.Floor box(For concrete floor)

- 2.Steel armored conduit(For trunking system/Access floor).

- 3.Put under floor box into cut out and adjust height(For raised floor) .

- 4.Installing Heavy current/Data systems

- 5.Connecting and earthing.

- 6.Assembly and plug into underfloor box.

- 7.Single outlet

Attentions:

- 1.The sealing ring is closely attached to the smooth surface to prevent water leakage.

- 2.When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

- 3.Please close cover when not used.

Safety Warning：

- 1.This is a class I product and must be earthed

- 2.This product must be installed/wired by a qualified electrician

- 3.For indoor use only.

- 4.For concrete floor/access floor.base on different bottom box.

Package:12 Pcs inner box into a master carton.Poly bag with box packing.