Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: South African Socket

PRODUCT No.:    F19

ADD: 2nd floor, Wealth Garden, Liushi Town, Yueqing city,Wenzhou,Zhejiang,China

（TEL）:0086-577-61725369

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Characteristic:

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | PC 94-V0 |
| 2 | Inside material | Tin phosphorous bronze |
| 3 | Surface finish | Glossy |
| 4 | Input voltage | 250v/AC 50~60Hz |
| 5 | Rated current | 16A |
| 6 | 3 pin Withdrawal force | 54N |
| 7 | 2 pin Withdrawal force | 2N-18N |
| 8 | Durability | ≥5000 |
| 9 | Color | customization |
| 10 | Number of terminals | 2 screw terminals |
| 11 | Outlet | South African socket |
| 12 | IK degree of protection | IK04 |
| 13 | IP degree of protection | IP21 |
| 14 | Dimension of product | 45*45mm |

Environmental requirements

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Operating temperature | -10℃~+40℃;Operating |
| 2 | humidity | 20%~90% RH |
| 3 | Storage temperature | -20℃~+85℃;storage |
| 4 | humidity | 10%~95% RH |
| 5 | Resistance to pressure | ≥3Kv/AC 1min |
| - 6 | Isolation resistance | 500v DC/100MΩ |

Application:

- embedded into the wall

- under table trunking

- onset floor mini-column/tower socket

- Feature ：

1.5...2.5mm²for stranded cable（s）

1.5...2.5mm²for flexible cable（s）

1.5...2.5mm²for rigid cable（s）

dielectric strength tester

Current tester

Current tes

Current tester

Current tester

insulation resistance tester

- tooless installation

- Single，double，triple，multi-socket using the connection block

- With optional safety key

- With red，green，white finish for UPS，health sector or specific power supply.

Package:10 Pcs connector in poly bag separately with inner box. 10pcs inner boxes in one carton box

F19 Outline drawing:

Installation Process

- Insert the connection block in the contacts of the socket

- Easy to install: Pre-assembled system product need only a screwdriver to have their cables connected and to fit them on the boxes-just a few seconds work for an incredible long-last installation.

4.Safety Warning:

- 1.For indoor use only.

2.This product must be installed/wired by a qualified electrician.

5.Attentions:

1.Protect children from touch skirt of socket.

2.Ensure current and voltage as rating current/voltage .Do not overload

3.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.