Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:      USB charger

PRODUCT No.:     F1042A-2

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-577-62799688

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

USB Characteristic:

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | PC 94-V0 |
| 2 | Inside material | Tin phosphorous bronze |
| 3 | Surface finish | Glossy |
| 4 | USB DC output | 4.2A/5V |
| 5 | Output voltage tolerance | ±5% |
| 6 | Output power | Max.21W |
| 7 | Service life in hours | 3000h 21W |
| - 8 | Efficiency | 78% |
| 9 | No-load power consumption | Max 0.2W |
| 10 | Input voltage | 100~240v/AC 50~60Hz |
| 11 | Color | White RAL9003 Black |
| 12 | Number of terminals | 2 screw terminals |
| 13 | Electrical insulation class | Class II |
| 14 | IK degree of protection | IK04 |
| 15 | IP degree of protection | IP21 |
| 16 | Dimension of product | 45*45mm |

Environmental requirements

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Operating temperature | -10℃~+40℃;Operating |
| 2 | humidity | 20%~90% RH |
| 3 | Storage temperature | -20℃~+85℃;storage |
| 4 | humidity | 10%~95% RH |
| 5 | Resistance to pressure | ≥3Kv/AC 1min |
| - 6 | Isolation resistance | 500v DC/100MΩ |

Application:

Clip-in

Feature ：

Identification of the chip

1.5...2.5mm²for stranded cable（s）

1.5...2.5mm²for flexible cable（s）

1.5...2.5mm²for rigid cable（s）

dielectric strength tester

Current tester

Current tes

Current tester

Current tester

insulation resistance tester

- 1).Dual port USB charger of 4.2A 5VDC;

- 2). Protection type: Short time short-circuit protection;

- 3).With identifying chip: can automatically recognize different mobiles and suit its request charging AMP to meet the charging speed;

- 4) Product be certificated by CE,IEC60950 FOR LVD and IEC55024,IEC61000 for EMC;

- 5). All materials be ROHS directive tested

| Testing Item | Testing Standard | Testing Data |
| --- | --- | --- |
| Aging test | USB charger for 2 hours with LED lights must always light | 2 hours |
|  | High and low pressure 90V-264V to normal operation | 90V-264V normal |
| Power test | Rated output voltage range: no-load: 5V±5%, load:5V±5% | No-load: 4.92-4.95V, load: 5.04-5.1 |
|  | Rated output/ currenturrent protection: Max. 1.37 times as rating current) | 4.2A/4.65A |
|  | Output ripple: load 4.2A, Vpp<200mV | 86.9mV |
|  | Short circuit protection: output positive and negative short for 2 minutes, after the break to work properly | 2 minutes |
|  | Pin output voltage: D-: 2.75VDC/D+:2VDC, subject to actual test value | D-:2.63VDC/D+:2.68VDC |
| Pressure test | Under normal climatic conditions, the input and output terminals should withstand the corresponding voltage(USB-10, 101 series for the 1500V, the other is more than 3000V), Generally every test a minute without breakdown flashing phenomenon was qualified, and leakage≤5mA. | 3000V 0.68mA-0.69mA |
| Insulation resistance test | In the normal temperature environment, AC input plug and DC input plug between the input DC500V, 1 minute after the insulation resistance of 7 trillion or more | ∞ |
| Grounding resistance | In any case the resistance shall not exceed 100mΩ |  |
| Temperature rise test | At room temperature 30℃rated work, the charger rated for 2 h after the measurement of its shell surface temperature change <1℃/ h that the temperature is stable, this time measuring the surface temperature of its shell <50℃ | Pass |
| Limit load | Test the product load current limit can run the load value | pass |

Package:10 Pcs inner box into a master carton.Poly bag with box packing.

F1042A-2 Outline drawing:

4.Safety Warning:

- 1.For indoor use only.

2.This product must be installed/wired by a qualified electrician.

5.Attentions:

1.Protect children from touch skirt of USB port.

2.Ensure current and voltage as rating current/voltage .Do not overload

3.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.