Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:   pop up destop socket

PRODUCT No.:       FZ-517DN

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | FZ-517DN | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | Desktop socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Silver | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | Aluminum alloy |
| 2 | Surface finish | Silver |
| 3 | Panel Dimension(mm) | 266*118 |
| 4 | Cutout(mm) | 231x112 |
| 5 | Height of product(mm) | 70 |
| 6 | Bottom box size(mm) | 229*110*70 |
| 7 | Bottom box material | Plastic |
| 8 | Capacity of modules /Interface size | 6 ways 45*45mm modules |
| 9 | Configuration | Power outlet+Data outlet or USB charging : Customized as required |
| 10 | Cable length | 1.5m, 2m,or required length |

Application:

Product Show:

Features:

1.The panel is by aluminum alloy of integrate die casting structure,more reliable surface finish protect from scratch.

2.Easy Installation：Only need screw the bottom box through hole of panel. Fast wiring HTJ-002 terminal block tight by 3 screw,0.5~6mm2soft/hard wire.

3.Replace modules no need to change complete desktop socket,save labor lost.

4.Fire retardant PC plastic bottom box.

Available for 45*45mm type international sockets or modules types:

FZ-517DN Outline drawing:

Package:12 Pcs inner box into a master carton.Poly bag with box packing.

Installation Process

- Cut out as specification sheet.

- put the bottom box into cut-out hole,punch the self-tapping screw and fix the bottom box.

- Remove plastic frame fixing socket modules.Assembly the socket or data Jack into the plastic frame and press frame ensure them combine tightly.

- Keep socket modules connected by inner wire (it should be copper core 1.5mm29~20 wire and length should be suitable).Then earthing and ensure inner wire tightly with modules.For fast connector terminal block,Just insert wire into block.

- Phone line ,TV receiving line sound box wire（it should thin wire）Just the wire length and tighten stop screw comathen.

- Put the panel on the bottom box and it with the hole.

Physical installation

Attentions:

1.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

2. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

Safety Warning:

1)This is a class I product and must be earthed

2)This product must be installed/wired by a qualified electrician

3)before installation/maintnance ,ensure the mains supply is switched off and the circuit fuses are removed or circuit breakers switch off

4)For indoor use only

# Text boxes

（1）

（2）

（4）

（3）

（6）

（5）

Screw

Body and Module

Base box

(Image is for reference only.)

Table