Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: flip up floor socket

PRODUCT No.:    FD-777-B

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | FD-777-B | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | Desktop socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Silver/black/white | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Item | FD-777-B |
| 2 | Application: | Residential ,Industrial or public |
| 3 | Panel Material | Brass alloy & nickel plated brass |
| 4 | Color: | Golden, sliver，black，red，etc |
| 5 | Surface finish | Wire drawing/Polishing/Spray painting |
| 6 | Grounding: | Standard Grounding |
| 7 | Damping device (DP): | Only normal Pop-up without damping device |
| 8 | Available modules: | 3 ways 45 type modules |
| 9 | Panel Dimension(mm) | 143*136 |
| 10 | Cutout(mm) | 122x122 |
| 11 | Capacity of modules /Interface size | 3 ways modules |
| 12 | Bracket material | Zinc Alloy & Alu Alloy |
| 13 | Sink box Material | Steel+Zinc plated |
| 14 | Sink box Thickness: | Ga steel/1.2mm |
| 15 | IP Rating | IP Rated 55 |
| 16 | Static Pressure force | Over 1000N |

Application:

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

CE certificate by TUV,Germany

LVD test report

Product Show:

- Features:

- 1.Protect stumbling: Flush mounting on floor and protect children stumbling

- 2.IP55 :Connected with power supply over IP55 level.

- 3.Rotating modules mechanism: more plug top clearance.Furthermore, enhance lifetime receptacle .

- 4.Soft silica seal cable exit: Protect cable exit from scratching from cover plate of floor boxes.

Available for F type 45*45mm type or D type22.5*45mm international sockets or modules types:

FD-777-B Outline drawing:

Package:12 Pcs inner box into a master carton.Poly bag with box packing.

Installation instructions:

- Remove the panel from the bottom box along with the electrical modules.

- Fix the flooring with spare screws on the bottom box and place it in the embedded hole.

- The flooring surface shall be at least level with the ground or 20mm below the ground.

- Remove flooring surface ,Insert the 10--12mm lead head into the terminal of floor box.

- Fix the panel to the bottom box with screws.

Attentions:

- Dispose of trash in bottom box and prevent dirt and debris from entering inside.

- The sealing ring is closely attached to the smooth surface to prevent water leakage.

- Prevent from alkaline corrosion and humidity.

- When installing, pay attention to the opening direction,the length of the conductor to the bottom box shall not exceed 10cm,Set aside at least 200mm of cable.

- When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

- This product is suitable for dry surface treatment, avoid water flush and immersion, and ensure its insulation

- Avoid acid alkaline solution flushing,avoid scratch of transparent protective paint,ensure corrosion resistance.

.

- Advantages :
1.More Strong Scratch Resistance: Surface finish made from stainless steel or Brass by combination of tough material, Aluminum (ADC12) and shot blast finish on the surface achieves high scratch resistance.Stastic pressure over 1000N.

- More higher IP protection: Reach IP55 protection level.As per IEC60529/EN60529 for low voltage device safety standards, IP55 mean the first digital No. of “ 5” for dust-tight enclosure protect this dust no more than diameter of 1mm entry and the second digital number of “5” for protect waterproof for splash entry into.

- High quality socket receptacle:Using elastic phosphor copper avoids playing spark plug and plug set to bit dead ,ensure high conductivity and more life of pulling and plugging over 15000 times.PC+ABS(1.Modules fireproof : 850 degree C temp.; 2.Modules don't distortion under 102 degree C temp.; 3.Stand under 15 degree C temp) ;Oxygen Insulation & Fire resistance in accordance with UL94 international standard.

- Edible silicone gaskets with service life up to 10 years.

- Long lifetime of push button: More than 5000 times of push button.

- More heavy duty of bottom boxes:Thickness of bottom boxes is over 1mm.