Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:Portable socket distribution

PRODUCT No. :   SF-1806B

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters :

| - Serial No. | - Parameter | - Description |
| --- | --- | --- |
| 1 | Product Name | Portable socket distribution box |
| 2 | Brand | Safewire |
| 3 | Item | SF-1806B |
| 4 | Type | Portable socket box |
| 5 | Grounding | Standard Grounding |
| 6 | Application | Industrial, Industry Electronic Equipment |
| 7 | Color | Yellow |
| 8 | Material | ABS plastic |
| 9 | Protect level | IEC60529 IP44 / IP67 |
| 10 | Executive standard | EN 60439-4 |
| 11 | Size | 308*277*238 |

- Product Show:

- Features:

1.The waterproof socket box cover buckle is made of stainless steel. It is safe and reliable.

2.High protection degree is IP67. IP44 can also be selected according to customer requirements.

3.This open holes use CNC milling and Engraving machine to open holes according to clients’ request.

4.Every single circuit inside the box is protected by a MCB.

SF-1806B Outline drawing: