Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: Socket Distribution Box

PRODUCT No. :  SF-NP282815 series

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters :

| - Serial No. | - Parameter | - Description |
| --- | --- | --- |
| - 1 | - Model Number | SF-NP282815 series |
| - 2 | - Protection Level | IP67 |
| - 3 | - Type | socket distribution box |
| - 4 | - Frequency | 50Hz/60Hz |
| - 5 | - rated operating voltage | up to 400V |
| - 6 | - rated current | up to 63A |
| - 7 | - Material | PC + ABS |
| - 8 | - Installation type | flush type/surface type |
| - 9 | - flush type/surface type | ≥30 years |
| - 10 | - Dimension(LxWxD) | 280x270x155 |
| - 11 | - Color | White |
| - 12 | - Standards | IEC60529/EN60309 |
| - 13 | - Environment temperature | -30 ℃ ~+40 ℃, indoor and outdoor |
| - 14 | - Poles of output socket | 1P+N+PE, 3P+PE, 3P+N+PE |
| - 15 | - Single-loop output voltage | 20-25V,40-50V,100-130V,200-250V,380-480V, 500-660V |
| - 16 | - Single-loop output current | 10A, 16A, 32A, 63A, 125A etc. |

- Product Show:

It is applicable for special waterproof, dustproop and conrrosion-proof locations.

- Features:

PC power maintenance box is in line with relatice IEC standards, which is for electrical network(50/60Hz, voltage not higher than 660V). At the same time, they are with circuit protection like overload, short circuit and current leakage and provide the power outlets for electrical equipments.

Material, size, poles or current of plug and socket, poles of circuit breaker etc are all based on customers' requirements.

SF-NP282815 Outline drawing:

Application :

These boxes are widly used in oil themical, industry, metallurgy, power plants, cola mines, machinery, textile, ports, docks and other industries. Specifically for maintenance in the tunnel range of rail transit.