[image: image8.png]SAFEWIRE



           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604   

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET

PRODUCT NAME:  Flip-top table stand 

PRODUCT No. :       FZ-ZSG-B   
[image: image1.jpg]SNAFEWIRE



[image: image2.jpg]



Address:2nd floor, Wealth Garden, Liushi town, Yueqing, Wenzhou , China, 325604

Tel:0086-577-61725369        

ZIP:325604       

Mob:0086-18612380398

Technical parameters & characteristic :

	Serial No.
	Parameter
	Description

	2
	Shape column
	square

	3
	Panel Material
	Aluminum alloy

	4
	Surface finish
	Painted/Brushed Oxygenated

	5
	Height of product(mm)
	66-75(adjustable)

	7
	dimension (mm)
	L*W=246*153

	8
	Capacity of modules
	45*45/45*22.5(mm) modules

	9
	Configuration
	Power outlet+Data outlet or USB charging+HDMI+VGA+Audio socket : Customized as required


Product functional components :

[image: image3.png]SAFEWIRE

45 Type Function Accessories

a . 8 o
v so so oo

LRRES = o fe)
g @ © © B 9 ° |9 [

RUSCuS el o sl SNCucks  giSeoss  OMegpmn)  Adowcst  Vedowos  Seowcis  USS

& lof |8 m |





Product drawing:   

[image: image4.jpg]=l=y

ja—|\§

-

y'Ect

T

gj
=
=

231
2460
217.0





Installation Process:
Locating the opening: Based on the product design and usage requirements, determine the installation position on the desktop. Reserve installation space 

Pre-installed base box and wiring: Fix the matching installation base box below the opening on the tabletop. Pass all the power cables, data cables, etc. through the base box and the tabletop opening to prepare for subsequent wiring. 

Pre-installed wiring: Fix the installation base box. In strict accordance with electrical specifications, connect the power line correctly to the terminal block of the desk plug module. After confirming that the connection is firm and error-free, insert or lock the desk plug module into or onto the pre-installed base box. 

4.Panel installation: Align the functional module of the desk plug with the main frame, apply even force and press firmly until it is fully inserted and locked in place. Ensure that the panel is perfectly flush against the tabletop. 

5 Test cleaning: Power on and test all functions. Once all functions are confirmed to be normal, clean the panel and the surrounding desktop.
The actual scenarios and component details of the product 

[image: image5.jpg]



[image: image6.jpg]



Attentions:

Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.
All dimension quoted are nominal only. Drawings , images and text are for illustrative purposes only and product details and dimension are subject to change without notice.
Safety Warning:
IMPORTANT: Read all instructions before installing Onfloor Aluminum Profile.

[image: image7.jpg]/N WARNING /MN\ /\ CAUTION N\ ——

2.‘“ RISK OF SHOCK, DISCONNECT Onfl(_)or Alumi_ngm Profile should be_- instal_led by a
‘ POWER BEFORE INSTALLATION. qualied electrlci\)r::;r; slzcé?giz?:c)ed\év;t.h national and

N\ WARNING A\

+Thisis a Class | product and must be reliably earthed (grounded).

« This product must be installed and wired by a qualified electrician.

« Before performing any installation or maintenance, ensure the mains supply is switched switched off and the circuit fuses are
removed or the circuit breakers are switched off.

+ Disasembly or repair by unqualified personnel is strictly prohibited. There are no user-serviceable parts inside.When
disconnecting the plug, grip the plug body itself. Do not pull the cord.Place the power strip where it is inaccessible to children.

+ Unplug the power strip from the wall outlet during prolonged periods of non-use.





Thank you for choosing the products of Safewire!

  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com
[image: image8.png]

