Wenzhou Safewire Electric CO.,Ltd.

**SPECIFICATION SHEET**

**PRODUCT NAME:Fireproof & waterproof Boverplate and box**

**PRODUCT No. : ZT-21/22/32/42**



Address:2nd floor, Wealth Garden, Liushi town, Yueqing, Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB): http://www.safewirele.com

**Specification**

|  |  |  |
| --- | --- | --- |
| ****Serial No.**** | ****Parameter**** | ****Description**** |
| 1 | Material | PS |
| 2 | Color | White/Blue |
| 3 | Suitable switch size | 118 double size |
| 4 | lnstall way | adhesive |
| 5 | certification | RoHS |





**Features:**
1. Splashproof box for 86 type panel wall switch socket receptacles watperproof coverplate.
2. Thickened ABS material, safe and insulated, stable and durable.
3. 120 degree opening design, installation and using become more convenient.
4. Comes with high-quality sponge pad, which makes the splash-proof box match better with the wall surface.
5. Waterproof, splash-proof, dustproof, widely used in bathroom, livingroom, etc.

1. More color to option:White,Blue
2. 86 double size waterproof box.

**Application**



Related product recommendation

