[image: image10.png]SAFEWIRE



           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604   

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET

PRODUCT NAME:     IP65 Aluminum Floorbox  

PRODUCT No. :        HTD-65-120   

[image: image1.jpg]-

SNAFEWIRE





Address:2nd floor, Wealth Garden, Liushi town, Yueqing, Wenzhou , China, 325604

Tel:0086-577-61725369        

ZIP:325604       

Mob:0086-18612380398

Technical parameters & characteristic :

	Serial No.
	Parameter
	Description

	1
	IP level
	IP65(closed) or IP20(working)

	2
	Panel Material
	Aluminum

	3
	Surface finish
	Painted/Brushed Oxygenated

	4
	Height of product(mm)
	103(Overall height)

	5
	dimension (mm)
	240*157 (Bottom length and width)

	6
	Capacity of modules
	45*45/45*22.5(mm) modules

	7
	Configuration
	Power outlet+Data outlet or USB charging+HDMI+VGA+Audio socket : Customized as required


[image: image2.jpg]Product Superiority

1.Aesthetically Pleasing and Neat: Features an integrated design
that effectively manages cables,keeping desktops/floors tidy.

2.Mechanical shock tolerance test: 500H/cm for 1 minute (in
accordance with NF EN 60670-23 standard)

3.Mechanical strength of the lid (internal test): After 10,000 opening
and closing cycles, no damage to the lid was observed.

4.This product has excellent sealing properties and can prevent dust
and water from entering. It can also operate in high-intensity
environments.





product Show:
[image: image3.jpg]NFE\WIRE





[image: image4.png]


[image: image5.jpg]



Internal functional components and their partial list:

[image: image6.jpg]SAFEWIRE

45 Type Function Accessories

- " - °
Qo

EU socket Frensh socket

0
% 2 o0 [ B |

2 pin socket

3 pin 10A socket 3 pin muls function BS socket USA socket

IIIIIIIII@

RJ4S/ICat 6 data/TEL socket TV socket DiN(eight pins) Audio socket Vedio socket Stereo socket

FAUF21/F22F ZAF25/F28 Fs0 F51 F52 F53 F55 F56 F58 F59

o
©
[+
Cannon socket Speaker socket

FE0 F&2

15 pins VGA HD TV socket Seteminal
(pin fhole type )

Gpins VGA(pin /

hole type)

FESFEAFETFEB FE8 1





Product drawing:   

    [image: image7.jpg]"

SAFEWIRE




                  
Installation Process         
1.Pull the sliding module (circular shape) and remove the panel.
2.Remove the corresponding fixing screws on the installation plate and remove the installation plate.

3.Place the 45-type or 22.5-type modules into the slots, then insert the cables through the side inlet holes and correctly connect the modules (pay attention to grounding)

4.re-fix it with screws and insert the plug into the module.6.Install the connected modules in the profile.

5.Turn the panel 180 degrees and then place it in the socket box. Arrange the wires and pull them out from the U-shaped slot.

Assembly instructions for industrial-grade embedded sockeds    [image: image8.jpg]-

SAFEWIRE

1.

- 3.

Closed Condition(IP65)

Working Condition(25)




All dimension quoted are nominal only. Drawings , images and text are for illustrative purposes only and product details and dimension are subject to change without notice.
Safety Warning:
IMPORTANT: Read all instructions before installing Onfloor Aluminum Profile.

[image: image9.jpg]/N WARNING /MN\ /\ CAUTION N\ ——

2.‘“ RISK OF SHOCK, DISCONNECT Onfl(_)or Alumi_ngm Profile should be_- instal_led by a
‘ POWER BEFORE INSTALLATION. qualied electrlci\)r::;r; slzcé?giz?:c)ed\év;t.h national and

N\ WARNING A\

+Thisis a Class | product and must be reliably earthed (grounded).

« This product must be installed and wired by a qualified electrician.

« Before performing any installation or maintenance, ensure the mains supply is switched switched off and the circuit fuses are
removed or the circuit breakers are switched off.

+ Disasembly or repair by unqualified personnel is strictly prohibited. There are no user-serviceable parts inside.When
disconnecting the plug, grip the plug body itself. Do not pull the cord.Place the power strip where it is inaccessible to children.

+ Unplug the power strip from the wall outlet during prolonged periods of non-use.





  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com
[image: image10.png]

