[image: image12.png]SAFEWIRE



           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604   

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET

PRODUCT NAME:      Desktop socket    

PRODUCT No.:     FZ-VL-004          

[image: image1.png]



Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

mail）：happyhe@safewirele.com

(WEB):  http://www.safewirele.com
Quick Details:

	Serial No.
	Parameter
	Description

	1
	Safewire item
	FZ-VL-004

	2
	Panel material
	Tempered glass panel

	3
	Shell material
	Aerospace aluminum alloy

	4
	Panel Dimension(mm)
	Φ120

	5
	Cutout(mm)
	Φ100

	6
	Dimension of product(mm)
	300

	7
	Configuration
	wireless charger&USB charge

&power socket

	8
	Cable length
	1.5m, 2m,3m or required length

	9
	Lifting method
	Hydraulic lift

	10
	Capacity of modules /Interface size
	4way 40*40mm module

	11
	Output
	90-260V AC

	12
	Wireless charging
	15W Fast charging

	13
	USB Charging
	20W PD (type A +C）

	14
	Use USB alone Support
	5V/3A  9V/2.22A  12V/1A

	15
	Output voltage in time  Total current
	5V  3A


Correlation parameter

Hydraulic: Hardware functions  90-260VAC power supply, 15W wireless fast charge, 20W wired USB fast charge 1A port +1C port

USB port power supply:Maximum power of port A + port C :20W(10W for each)

Single-use Support 5V/3A, 9V/2.22A, 12V/1. when the output voltage is 5V, the total current 3A;

Wireless charging Maximum power :15W

Application:

[image: image2.jpg]" SAFEWIRE




1.Specification of Safewire Cylindrical socket: 

A)Product dimension:
[image: image3.jpg]cut out the diameter of the table:10CM

—_——

Table above part
size:10CM

30cm

Table
thickness:4.5CM

Table'under section
size:21CM

-
.7cm




Available :Power socket+USB charging + wireless charging  (40X40mm)
[image: image4.png]



Safewire Cylindrical socket application in different system:

[image: image5.jpg]i 1 =
= j
G ' H -
r I‘ ] .
| L2

FZ-VL-001 FZ-527E/W FZ-526-8 FZ-502W FZ-502B SFGS811-WL





[image: image6.jpg]D)Safewire recommended or other solution of requirement :

£ sArEwiRE FsArEWIRE FSAFEWIRE
FZ-VL-001 w5 FZS27EW FZ-527E/U
- - =
s’
£ sArEwiRE FsArEWIRE FSAFEWIRE
FZ-526-8 25018 FZ-5028
= 7 HZESUEE R
= m
£l Q
=
m '
FsArEwiRE FsArEWIRE FSAFEWIRE
SFGS811-WL F16C F-QB53
z

Cotor

E)Safewire optional of economical package :

~ SAFEWIRE

!

Access cylindrical sock

et Cylindrical socket
with paper box

Socket with kraft paper

Packing PP belt
product outer box

Boxes with kraft pape

L

Put to pallet





Hydraulic lift, 4 sides around

[image: image7.png]Damping hydraulic
intelligent lifting socket

des | hidden design

AP





Ip44 waterproof protection

When the product is closed, the IP44 structure design can effectively prevent water splashing and oil stains

[image: image8.png]



Color:three color soptional
[image: image9.png]



[image: image10.png]



Overload protection

The load power during use exceeds itself Electrical appliances will automatically trigger overload protection rest for 5 seconds to activate the button
[image: image11.png]



  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com
[image: image12.png]

