Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:       Switch Socket

PRODUCT No. :    500W   250W  2*250W

SF-E318R      SF-E318TR     SF-E328R

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-18612380398

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Product Details

| - Serial No. | - Parameter | - Description |
| --- | --- | --- |
| 1 | installation hole | round |
| 2 | Size(mm) | 86*86 |
| 3 | Voltage | 250V |
| 4 | Mechanical Life | 100,000 times |
| 5 | Color | Black |
| 6 | Type | Switch |

- Product Show:

Features:

- 1.Firm installation and electric shock 'protection.

2. Material: Vo fireproofing materials and high quality copper pieces, PC bullet-proof plastic,high temperature ,corrosion resistant.

3.More flexible fuction,buttons can be flexibility.

pplication：

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

Attentions:

- When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

- This product is suitable for dry surface treatment, avoid water flush and immersion, and ensure its insulation.

- Avoid acid alkaline solution flushing,avoid scratch of transparent protective paint,ensure corrosion resistance.