Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:  Desktop Socket

PRODUCT No. :    CK-01

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-18612380398

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Product Details

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Min Size | 1.5 modules |
| 2 | Max Size | 7 modules |
| 3 | Length(L) | No.of modules*53+44 mm |
| 4 | Dimension | L*81d*43h mm |
| 5 | Cut Hole | (L-19.5)*72d mm |
| 6 | Category | In desk,Under desk |
| 7 | Packaging | Regular white box packing |
| 8 | Certificate | UL,cUL,CCC,CE,RoHS |
| 9 | Anodized Aluminum Body | Clear,Black |
| 10 | Modules | White,Black |
| 11 | End Caps | Silver,Black |

Product Show:

Cancel the Figure:

Features:

- Easy to install with provided mounting brackets.

- 3 mounting methods for easy installation.

- New installation assembly, support line slot installation.

- Customized module to combine power supply and weak current configuration on demand .

- Capable of in series power connection.

- Patented product.

- Possess UL,cUL,CE,CCC, RoHS certificates.

Installation Instruction

Attentions:

Panel, Training Room, Work Station, Hotel Room

Attentions:

1.Don't touch the socket with wet hands when the power is on