Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: 6 pin power socket

PRODUCT No.:         CP7-2

ADD: 2nd floor, Wealth Garden, Liushi Town, Yueqing city,Wenzhou,Zhejiang,China

（TEL）:0086-577--61725369

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Characteristic

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Product name | 6 pin power socket |
| 2 | Model Number | CP7-2 |
| 3 | Place of Origin | Zhejiang,China |
| 4 | Brand Name | Safewire or OEM brand |
| 5 | Size | 23*72mm 128 type socket |
| 6 | Color | White |
| 7 | Connector | 6 pin |
| 8 | Contact Resistance | ≤30MΩ |
| 9 | Insulation Resistance | ≥2GΩ |
| 10 | Pressure | 2700V,AC/Minute |
| 11 | Temperature Range | -30~+70℃ |
| 12 | Rated Load | 250V AC 20A |
| 13 | Lifetime | 5000 times |

Feature

1.High Quality, Sturdy, Metal Construction. Easy to assemble.

2.Heavy-duty, molded connector design with internal strain relief to prolong its durability.

3.Locking Metal End, Perfect for making custom cables (DMX, MIC, microphone, audio ect.)

4.23*72mm NEMA-20R 20A 6 pin power socket

Product show

Application:
  Use in floor box or desktop socket apllication in home / airport / hotel ect.

RoHS Certificate of Compliance：Conforms with the Directive 2002/95/EC (ROHS) regarding to limitation of dangerous substances,in particular to clause 4 which forbids the use of  substances.

Package: 20 Pcs connector in poly bag separately with inner box. 10pcs inner boxes in one carton box.