Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:  13A socket

PRODUCT No. :     CP8

ADD: 2nd floor, Wealth Garden, Liushi Town, Yueqing city,Wenzhou,Zhejiang,China

（TEL）:0086-577--61725369

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Characteristic:

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Product name | 13A socket |
| 2 | Model Number | CP8 |
| 3 | Place of Origin | Zhejiang,China |
| 4 | Brand Name | Safewire or OEM brand |
| 5 | Color | White |
| 7 | Dimension of product | 23*36mm |
| 8 | Panel Material | PC |
| 9 | Inside material | Tin phosphorous bronze |
| 10 | Input voltage | 250v/AC 50~60Hz |
| 11 | Rated current | 10A |
| 12 | 2 pin Withdrawal force | 2N-18N |
| 13 | Durability | ≥5000 |
| 14 | Number of terminals | 2 screw terminals |
| 15 | Outlet | Brazil NBR sockets |

Product show

Application:

- embedded into the wall

- under table trunking

- onset floor mini-column/tower socket

Package: 20 Pcs connector in poly bag separately with inner box. 10pcs inner boxes in one carton box

Safety Warning:

- 1.For indoor use only.

2.This product must be installed/wired by a qualified electrician.

Attentions:

1.Protect children from touch skirt of socket.

2.Ensure current and voltage as rating current/voltage .Do not overload

3.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.