Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:    Switch Socket

PRODUCT No. :      SF-E42613SR/SDR

SF-E42613SR                          SF-E42613SDR

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-18612380398

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Product Details

| - Serial No. | - Parameter | - Description |
| --- | --- | --- |
| 1 | Voltage | 250V |
| 2 | Mechanical Life | 50,000 Times |
| 3 | Color | Black |
| 4 | Touch Point | Silver Alloy Touch Point |
| 5 | Material | PC+Copper |
| 6 | Description | Single/Multi control switch |

- Product Show:

Features:

- The SF-E42613SDR socket has two kinds of double opening and single opening, among which the double opening one has two buttons which is more safe and convenient.

- 3-pin operated ‘child resistant shutter system’, which is designed to inhibit access to the electricity supply,more secure.

- Durable and wearable and heat resisting and non-yellowing.

- Silver cadumium oxide alloy connection point.

- pplication：

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

Attentions:

- When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

- This product is suitable for dry surface treatment, avoid water flush and immersion, and ensure its insulation.

- Avoid acid alkaline solution flushing,avoid scratch of transparent protective paint,ensure corrosion resistance.