Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:     Desktop socket

PRODUCT No.:     FZ-501

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | FZ-501 | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | Desktop socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Silver/black/white | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | Zinc alloy |
| 2 | Bottom box Material | Enginning PC |
| 3 | Socket material | Phosphor copper |
| 4 | Panel Dimension(mm) | Ø110 |
| 5 | Cutout(mm) | Ø102 |
| 6 | Base box dimension | Ø110*45 |
| 7 | Capacity of modules /Interface size | 3 ways (45*45mm)modules |
| 8 | Available Structure | Round/ Without coverplate/Concealed installation |
| 9 | Available modules | Type 45 |

Application:

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

CE certificate by TUV,Germany

LVD test report

- Product Show:

- Features:

- Grommets are sleeves which are installed into raised floor panels. They protect cables from being cut by the sharp edges created after cutting into a panel for wire access. In addition, they protect employee fingers from sharp panel edges. 

Grommets are made from injected molded plastic resins designed for long-lasting wear and are resistant to chipping or breakage. They have a snap-in swivel lid that accommodates cables. 

Remember a hole saw is required to cut the opening in a floor panel when using circular grommets.

- Easy installation: Round shape to die out hole and save labor cost.

- More durable: The material of socket product body is from high quality zinc alloy by process of pressure casting as integration design. It be high intensity so more durable.

- More anti corrosion under heavy humidity environment: Surface of product is processed by power painting .

- More safety : Complete closed plastic bottom case and with conduit of cord .

vailable for 45*45mm type international sockets or modules types:

FZ-501 Outline drawing:

Package:18 Pcs inner box into a master carton.Poly bag with box packing.

Installation Process

- Cut out as specification sheet.

- put the bottom box into cut-out hole,punch the self-tapping screw and fix the bottom box.

- Remove plastic frame fixing socket modules.Assembly the socket or data Jack into the plastic frame and press frame ensure them combine tightly.

- Keep socket modules connected by inner wire (it should be copper core 1.5mm29~20 wire and length should be suitable).Then earthing and ensure inner wire tightly with modules.For fast connector terminal block,Just insert wire into block.

- Phone line ,TV receiving line sound box wire（it should thin wire）Just the wire length and tighten stop screw comathen.

（1）

（2）

（3）

Attentions:

- 1.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

- 2. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

Safety Warning:

1)This is a class I product and must be earthed

2)This product must be installed/wired by a qualified electrician

3)before installation/maintnance ,ensure the mains supply is switched off and the circuit fuses are removed or circuit breakers switch off

4)For indoor use only