Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: two door dual flip up socket

PRODUCT No.:   FZ-L002A/B

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | FZ-L002A/B | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | Desktop socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Silver, black | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | Aluminum alloy |
| 2 | Surface finish | Electroplated/Painted/Power sprayed |
| 3 | Panel Dimension(mm) | 340*150 |
| 4 | Cutout(mm) | 312*132 |
| 5 | Bottom box size(mm) | 310*130*12 |
| 6 | Configuration | Power outlet+Data outlet or USB charging : Customized as required |
| 7 | Cable length | 1.5m, 2m,2m or required length |

Application：

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

- Product show:

- Features:

1).With two doors, can achieve double-sided clamshell with automatic slow landing & dustproof brush

2). Installation way:The embedded installation desktop socket.

4). The hidden desktop socket  provides a compact, beautiful desktop signal connection solution for the user.

5) Suitable for use in conference rooms.

6). The length of product & cord cable  are customized by requirement;Support wide range of power and data accessories available to meet all requirement.

Available sockets or modules types:

Package:2Pcs inner box into a master carton.Poly bag with box packing.

Attentions:

1.Use only in normal temperature.Do not expose to conditions that harm to the product’s safety,such as humidity,dusty and corrosives.

- 2.Properly connecting and installing according to the rated voltage ,frequency,rated current and function identification of the product

- 3. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

Safety Warning:

1)This is a class I product and must be earthed.

2)This product must be installed/wired by a qualified electrician.

3)before installation/maintnance ,ensure the mains supply is switched off and the circuit fuses are removed or circuit breakers switch off.

4)For indoor use only.