Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: Pop up floor socket

PRODUCT No. :    HTD-J02L

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | HTD-J02L | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | floor socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Golden, silver | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| - Serial No. | - Parameter | - Description |
| --- | --- | --- |
| 1 | Panel Material | Brass alloy/Alu alloy |
| 2 | Surface finish | Wire drawing/Polishing/Spray painting |
| 3 | Panel Dimension(mm) | 120*120 |
| 4 | Cutout(mm) | 105x105 |
| 5 | Capacity of modules | GFCI module with USB port |
| 6 | Bracket material | Zinc Alloy & Alu Alloy |
| 7 | Sink box Material | Steel+Zinc plated |
| 8 | Sink box Thickness: | 1.2mm |
| 9 | Available modules: | 45*45/45*22.5(mm) |
| 10 | Damping device (DP): | Normal Pop-up & Soft Pop-up available |
| 11 | N.W(kg) | 0.89(Brass alloy);0.72(Alu alloy) |
| 12 | G.W(kg) | 18.6 (Brass alloy);15.2(Alu alloy) |
| 13 | Carton size(cm) | 44x28x27.3 |

Application：

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

- Product Show:

- Features:

- Fast-wiring: more terminal block for 1~2.5m²rigid wire or 0.5~6m²prepared flexible wire.

- Easy-Installation: Patented technology of clip flush mounting frame of modules replacement. Save labor cost.

- Reliable push button: ＞5000 times.

- Brass / Aluminum floor box with GFCI / with USB port.

HTD-J02L Outline drawing:

(Image is for reference only.)

Package:20 Pcs inner box into a master carton.Poly bag with box packing.

Installation Guide

- Cut out size ：120*120mm.Install the bottom box with panel into the specified location.

- Screw mounting frame and panel(for desktop only).

- Fix the panel and bottom box with screws(This item is for ground installation only).

- ADjust the tightness of all wiring lines (no influence on opening).

(1)

(2)

(3)

(4)

Attentions:

- 1.Dispose of trash in bottom box and prevent dirt and debris from entering inside.

- 2.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

- 3.When installing, pay attention to the opening direction,the length of the conductor to the bottom box shall not exceed 10cm,Set aside at least 200mm of cable.

- 4. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

- 5.Make sure that the sealing under plate will be jointed tightly with the earth’s surface,avoiding seepage

Safety Warning：

- 1.This is a class I product and must be earthed

- 2.This product must be installed/wired by a qualified electrician

- 3.For indoor use only.

- 4.For concrete floor.