[image: image31.jpg]1

8mm

10mm



           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604                      

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET

PRODUCT NAME:       Floor Box 
PRODUCT No. :     HTD-627B 
[image: image1.png]



Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

(E-mail)：happyhe@safewirele.com

(WEB):  http://www.safewirele.com
Quick Details:
	Serial No.
	Parameter
	Description

	1
	Material of cover plate
	ABS

	2
	Material of base
	Thickness 0.9mm galvanized mild steel

	3
	Overall Frame & Lid (mm)
	330*221.8mm

	4
	Compact floor cut-out(mm)
	(275~306.1)*(185~202.7)*86.6mm

	5
	Thickness of concavity/Frame lid recess (mm)
	8mm

	6
	Installation depth(mm)
	86mm

	7
	Available modules
	45/86/110/120 type modules international socket


[image: image2.jpg]Certificate of Registration
Wenzhou Sifuwei Electric Co., Ltd

ABN: 91330382MA299KCCTE

Reg X ial Zone, Lushs Town, Yuegng City, Wenizhou Ciy, Zhejiang
mmmwemu Lid)
Proc I Busi 2nd Floor, Fortune Garden. Yanjiang Avenue, Qilgang. Liushi Town,

Yuegng City, Wenzhou Ciy, Zhejiang Province
Environmental Management System

which with the req of

GB/T 24001-2016/1SO 14001:2015

The registration covers Sakes of desk plugs, foor plugs, wal swiches. distritution boxes, kghing fidures,
and

Rogmtration No %CA0IMI01IE
Issuefuvised Dme: 2024-08-12 Expiry Date: 20270911

< <

Tre convhed oqaneabon musl epAary OB Ve SDEreson i) oM & Dassed Te exararabon e osell Tha certhode v
oMt 10 e vakd The quasfied del alsched 1o T cortieme nduales T e sudl s been spovoved

wacheng Conbeaton CompanytCNCA-R-2016. 2154000 Roore 802, Mo 7. Lane 373 Nnggee Roed Yangeu Dt Snangha
Shund T coriioaie So00rong 1 The fses of CNCA and Twe rubes of of Stergnas Cenbe Comoey

The conhome can be vatifed on CNCAYS web 900 o wwn CACR Q0w O

Conficaie wavd Sialus can uevy 81 www. SMALE 2O

ACHERC:

Frecee®

o e e Y o DN e
"‘J' p'ﬁ‘-'r'.l"‘\," “fr’*‘ﬂw"‘lr‘*"ﬁv Ny \"‘;

.

\
5
3
>
r 4
N
r 4
-

\ "4 N

CCe
‘¢‘ ch‘_ N

d. /
"t(t‘f,-" P

%"ltl"w
Certificate of Registration
Wenzhou Sifuweier Electrician Co. Ltd.

Regi X | Zane, Lashi Town, Yuegng City, Wenzhou Cay, Zhejiang
mmmwmxc«a Lid)

Procduction / Business acdress 2nd Floor, Foune Garden. Yanjiang Avenue, Qiigang. Liushi Town
Yuegng City. Wenzhou Ciry, Zhegiang Province

Environmental Management System
which phies with the reg of

GB/T 24001-2016/1ISO 14001:2015

Trw registration covers Sakes of desk plugs, Noor plugs. wal swilches. distritation Booes. ghang fiehures,
pr *

Ragistratica No KCADSNBLIN
Issuefovised Date:  2004-09-12 Expiry Dwte:  2027-09-11

< <

Tre Corvied GOANIINON Mus! Ieguiany Boswe Susereson W St e (avsed e examraton wd speeaes The cenioate we
Sominue 10 b vakd The quasted lbel atached 1o Tw cervioate NBcales 1 Tw st s been apprwed

waoveng Conboason CompanyiCNCA R J016 216 Addess Room 652 No 7. Lane 1) Nnggeo Roan Yasgou Dwstrct. Saanghas)
avend T contioaie accortvg 10 e rues of CNCA 858 Tw rules of cotfcaben of Shanghe Cenbouton Company

The confhome can be vatifed on CNCA'S web #00 o wwae ORCE Qe £

Comlcale vand sl con query ol sww SIAOE oM
= W

LT RTAL Shanghai Kaichang Cenification Co., Lid.

SHIOC | . . S e g P, S T 1 Y

AN

LTS
Feeceet





[image: image3.png]TEST REPORT
IEC 60670-23
Boxes and enclosures for electrical accessories for household and
similar fixed electrical installations
Part 23: Particular requirements for floor boxes and enclosures

SHES250801408901
20250830

26pages

'SGSCSTC Standards Technical Services (Shangha Co. L

Wenzhou Sfuveler Electician Co. 1d.

No 152 Xinguang Road. Xinggua Industry Zone. Lishi Town,
Yueaing. Wenzhou. 325604 Zhafiang. Crina

EC 60670-23:2006, AMD1:2016 with IEC 60670-12015
pey
Na

[TRF template used.._. ECEE 0D-2020 712020, 013
[Test Report Form No. 1ECE0670_23D.

[Tost Report Forms) Originater... - COC

[Master TRF........eroooccoc Do 2020-11-10

|Copyright © 2020 1EC Systom of Conformity Assessmont Schemes for Electrotechnical
|Equipmont and Compononts (IECEE Systom). Allrights rosorved.

s ctcaon oy s ks okt n ot o ol e s g DeIECEE s scsodogen s
s 1 s o i ECEE ki st by o 417k s 1y 1 s o
et v reod o s i Pt s cores

[This report s not valid s a CB Test Report unless signed by an approved IECEE Testing

| Laboratory and appendo to a CB Tost Cortiicato ssuod by an NCB in accordanco with IECEE 02

[Genera disciaimer:

[ Thetestresuts presented nthis report rlae only 0 he objctestes
[T report shall ot be reproduced. except i, whout th witen appeova f s lssuing NCB The.
|auhertiaty of s Test Repart nd s contens can be vrlbc by cortacting the NCB. responsiie or the
[Test Report




  [image: image4.jpg]



[image: image5.png]L
(X
=
<t
mmmd
o
=
(<)
o

VERIFICATION OF COMPLIANCE

No. LVD SHES2508014089CO
Applicant: Wenzhou Sifuweier Electrician Co. Ltd.
No.152 Xinguang Road, Xinggua Industry Zone, Liushi Town,
Yueqing, Wenzhou, 325604 Zhejiang, China
Manufacturer Wenzhou Sifuweier Electrician Co. Ltd.
No.152 Xinguang Road, Xinggua Industry Zone, Liushi Town,
Yueqing, Wenzhou, 325604 Zhejiang, China

Product Name: Floor boxes

Product Description: Floor boxes

Model No. HTD-626BAS, SCF-AO01, HTD-250KP, HTD-627B-90,
HTD6130

Trade Mark Sifuweier

Rating I

‘Additional Information: i

‘Sufficient samples of the product have been tested and found to be in conformity with

Test Standard EN 60670-23:2008+A12023+A112023
EN IEC 60670-1:2021+A11:2021

s shown in the

Test Report Number(s) SHES250801408901

“This Verification of Compliance has been granted to the applicant based on the results of tests, performed
by Laboratory of SGS-CSTC Standards Technical Services Co., Ltd. on sample of the above-mentioned
product in accordance with the provisions of the relevant harmonized standards under the Low Voltage
Directive 2014/35/EU. The CE marking can be affixed, under the responsibilty of the manufacturer, after
‘completion of an EC Declaration of Conformity and compliance with al relevant EC Directives. The affixing
of the CE marking presumes in addition that the conditions in annexes ll and IV of the Directive are fulfiled.

Andrew Zhai
Technical Manager 20250930
SGS-CSTC Standards Technical Services Co., Ltd

s dommeni mumsy e Compary s Gnerd Consicns o e csssblst
e e 3 i i, Akkan 8 1w s P i f . et
s i s B

ey ktrof 1 doosrrt i et oenaion ot etecs b Companys i 8 S5, C S ot e oLt
ey 100, Camoy o ‘N7 Fucherg Foad. Hadion




        [image: image6.png]VERIFICATION OF COMPLIANCE

o UKCA LVD SHES2508014086C0

Applcant. Wenzhou Siwslr Elecrican Co.Ltd.
2200 floor, Wealh Garden, Lush Town, Yuesing, Werzho,
326604, China

Manufacturer Wenzhou Siwser Elecrican Co.Ltd.
2200 floor, Wealh Garden, Lush Town, Yuesing, Werzho,
326604, China

ProductName: ‘Socketoutets

Product Desetion: ‘Socket-outets

Mogel No: HTD.G26845, SCF-AD1, HTD-250KP, HTD-6278.90,
HDT-6120

Trade Mark: Stoveier

Ratng 280v-; 138

Adtonsi Informaton: i
‘Sufficent sample.of the produc have been tested and fund 10 be in conformly wih

Test Standarc: Bs 13322023
as showninthe
Test Report Numbers): ‘SHES250801408501

‘T Verifcation of Compiance has been granied 0 he applcart based on the resuls of tsts, perbrmed
by Laboratory o SGS-CSTC Standards Techrical Senvices Co. Lid. on sampl of the above-mentioned
produc in accordance wi the pravsions ofthe relevant dessrated standards under UK Legitaton -
Electical Equipment (Safey) Reguiations 2016, The UKCA marking as shown belaw can be affaed, uder
the responsaiiy of the manufacturer, after completon of 2 UK Declaration of Conformi and complance

IR K
cA

Andrew Zvai
Technical Manager 2050022
'SGS-CSTC Standards Tectrical SenicesCo. Lid.

Bt ian
e s i g v e O e e
i ey
f==n S,

e




Specification of Safewire floorbox :
A)Product dimension(Unit: mm):  
[image: image7.png]306.0-

100 OO0 O O]

-40.0-

ol
—0.0—

2750

221,

—20.0—
40.0+

185.0

—P02.7




B)Safewire floorbox Application in different floor system:
1）Raised floor system:

[image: image26.png]SAFEWIRE



[image: image8.png]



2）Screed floor:
[image: image9.png]


 [image: image10.png]


    [image: image11.png]



          (2)                           (3)
[image: image27.png]


Installation instructions:                             
	OVERALL DEPTH (A)
	PLUG TOP
CLEARANCE (B)

	86.6mm
	35mm


[image: image28.png]PLUG TOP
CLEARANCE (B)

OVERALL
DEPTH (A)

STANDARD 40mm DEPTH
ACCESSORY BOX





1.For concrete floor
Align floor box in centre as delivered.Bend open ears and fix to raw ceiling.

	A

(mm)
	       B
Accessory box depth (mm)
	C

Underside lid to top of accessory(plug clearance) (mm)

	86.6
	39
	35


Dimensions from top of floor tile into floor void

[image: image29.png]General tolerance = +1.5mm
Tile cut-out and carpet insert
cutting templates are available on

request




2.For raised floor
Put under floor box into cut out and adjust height.Put under floor box into hole/location of raised floor.Then move the adjustable screw in clockwise direction until screws are tightened with flooring.lead the lines into plastic bottom box.

[image: image12.jpg]For Flush Trunking Floor

X SAFEWIRE





1) Installing Heavy current/Data systems  
Insert heavy current devices from the top and connect from below and snaptabs into the frame;Insert connected data Jacks from below into the plate,Fasten equipped plate accordingly.
3.Levelling to floor
Lead heavy and low current plug cable cord from edge lord outlet lid.Fill the sunken area of panel neatly with filling stuff according surface material of floor .Adjust under floor box height flush over the four levelling screws.

[image: image30.png]


Floor tile/carpet recess depth
Exploded View:
[image: image13.jpg]PC NO  |PART NAME
1 Folding lid
2 Finger Lift
3 Load-bearing board
4 Top Cover
5 Bottom Cover
6 Leveling Screw
7 M4 screw
8 Mounting Plate(A)
9 Mounting Plate(B)
10 Wire Hamness
11 Module
12 Upper Part of Base Box
13 Lower Part of Base Box





Product feature

1)  Finger lift(with lock)
[image: image14.jpg]



2)  The panel can be rotated by 90 degrees

[image: image15.jpg]



3)  Spring structure(easy to disassemble and install)
[image: image16.jpg]



Optional Configuration

[image: image17.jpg]110type+2*86type

© n © ]

©

—

2*110type+2*Network plug

77

© ©

@ O

@ 0o © ]

©

—I
I





[image: image18.png]4%110type

="

M= Sl





[image: image19.jpg]3*86type+2*Network plug

4*86type+Network plug

© ©

@ O

© 0 © ]

©

\
—I

—

-
Q d

©

ol | (]

.

LBy A





Product functional components drawing :
1)  45 Type Funtion Accesoies

[image: image20.png][*—21.7-

23—

52




[image: image21.png]L
ol s
& |
S| = J I @
5 o D)
< = [ oV 1 [
-—45.0—
45.0 45,0 45 .0





2)  86 Type Funtion Accesoies

[image: image22.png]86.0——

ol [3

6 ———+




3)  110 Type Funtion Accesoies

[image: image23.png]



4)  120 Type Funtion Accesoies

[image: image24.png]120.0




Attentions:                  
Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.
All dimension quoted are nominal only. Drawings , images and text are for illustrative purposes only and product details and dimension are subject to change without notice.
Warning:
IMPORTANT: Read all instructions before installing Floor box .

[image: image25.jpg]/A WARNING A\ /\ CAUTION A\ ——

2.““ RISK OF SHOCK, DISCONNECT _ Floor box should be installed by a
‘ POWER BEEORE INSTALLATION. qualied electr|0|ﬁ)r::;r? 2|cé(z:ct):i?:2?:oed\gg_h national and

A\ WARNING A\

« Thisis a Class | product and must be reliably earthed (grounded).
» This product must be installed and wired by a qualified electrician.

+ Before performing any installation or maintenance, ensure the mains supply is switched switched off and the circuit fuses are
removed or the circuit breakers are switched off.

+ Disasembly or repair by unqualified personnel is strictly prohibited. There are no user-serviceable parts inside.When
disconnecting the plug, grip the plug body itself. Do not pull the cord.Place the power strip where it is inaccessible to children.
+ Unplug the power strip from the wall outlet during prolonged periods of non-use.





Thank you for choosing the products of Safewire!
[image: image31.jpg]                             
Tel:0086-577-61725369；     Email:hapyhe@safewirele.com;     http://www.safewirele.com

