[image: image38.jpg]


           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604                     

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET
PRODUCT NAME:     underfloor socket  

PRODUCT No.:   

   HTD-628AS/SS/SP-45/4524     
   HTD-628AS/SS/SP-45/4524-C       

[image: image11.png]SAFEWIRE



[image: image1.jpg]SAFEWIRE

HTD-628AS-45




Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：happyhe@safewirele.com

(WEB):  http://www.safewirele.com
Technical parameters & characteristic :
Technical parameters :
	Serial No.
	Parameter
	Description

	1
	Type
	HTD-628AS/SS/SP-45/4524

HTD-628AS/SS/SP-45/4524-C

	2
	Panel materials
	 Plastic

	3
	Material of bottom box 
	A).Plastic；B).Plastic with additional stainless steal HTD-628AS-B

	4
	Overall Frame & Lid (mm)
	328*230.5

	5
	Compact floor cut-out(mm)
	305-310)*(210-215) 

	6
	Thickness of concavity/Frame lid recess (mm)
	8

	7
	Installation depth(mm)
	70mm~110mm

	8
	Plug top clearance(mm)
	13~48

	9
	Available modules
	16 modules

	10
	Accessories plates
	[image: image12.png]remove this
accessory



90*80mm


[image: image13.png]remove this
accessory




Application：

Safewire product range is applied for concrete

[image: image14.png]SAFEWIRE

HTD-628AS-C



[image: image15.jpg]


floor /raised floor/access floor; carpet, rubber,

Material and wooden floor are suggested.

Filling material is same as floor material. 

[image: image16.png]


[image: image17.jpg]AT

AR \





SGS Laboratory CE certification

[image: image2.png]VERIFICATION OF COMPLIANCE

No.: LVD SHES2408017317CO

Applicant: Wenzhou Sifuweier Electrician Co., Ltd.
2nd floor, Wealth Garden, Liushi Town, Yueqing, Wenzhou,
325604 Zhejiang, China

Manufacturer: Wenzhou Sifuweier Electrician Co., Ltd.
2nd floor, Wealth Garden, Liushi Town, Yueqing, Wenzhou,
325604 Zhejiang, China

Product Name: Boxes for floor socket

Product Description: Boxes for floor socket

Model No.: HTD-622AS, HTD-622AS-B, HTD-624AS, HTD-624AS-B,
HTD-628AS, HTD-628AS-B, HTD-626B

Rating: i

Additional Information: i

Sufficient samples of the product have been tested and found to be in conformity with

Test Standard: EN 60670-1:2005+A1:2013
as shown in the
Test Report Number(s): SHES240801731701

This Verification of Compliance has been granted to the applicant based on the results of tests, performed
by Laboratory of SGS-CSTC Standards Technical Services Co., Ltd. on sample of the above-mentioned
product in accordance with the provisions of the relevant harmonized standards under the Low Voltage
Directive 2014/35/EU. The CE marking can be affixed, under the responsibility of the manufacturer, after
completion of an EC Declaration of Conformity and compliance with all relevant EC Directives. The affixing
of the CE marking presumes in addition that the conditions in annexes Ill and IV of the Directive are fulfilled.

Andrew Zhai
Technical Manager 2024-10-28
SGS-CSTC Standards Technical Services Co., Ltd.

This document is issued by the Company under its General Conditions of Service accessible at
hitp:/Avww.sgs.com/terms_and_conditions him. Attention is drawn to the limitation of liability, indemnification
and jurisdiction issues defined therein.

Any holder of this document is advised that information contained hereon reflects the Company’s findings at the SGS-CSTC Standards Technical Services Co., Ltd.

time of its intervention only and within the limits of Client's instructions, if any. The Company’s sole responsibility 16F, Century Yu Hui Mansion, No.73, Fucheng Road, Haidian
is to its client and this document does not exonerate parties to a transaction from exercising all their rights and District, Beijing, 100142, CHINA

obligations under the transaction documents. Any unauthorized alteration, forgery or falsification of the content WWW.Sgsgroup.com.cn

or appearance of this document is unlawful and offenders may be prosecuted to the fullest extent of the law. Member of the SGS Group (SGS SA)

Safety-VOC-FO1/ Rev.2.0/ 2024-03-25
Page 1 of 1




Weigh the gravity test report

[image: image3.png]NTTE=EN

TEST REPORT

Report No: MS240605018E-01

Customer:-«-+-=--eeee

Address ..................

Sample name:----cccceee
Sample model -+
Quantity of Sample----

Other description---+--

‘Wenzhou,China ,325604

: floor box

: 6pcs

Page 1 of 7

: Wenzhou Safewire Electric Co.,Ltd.

: No.152 Xinguang Road, Xinggua industry zone, Liushi town, Yueqing,

: HTD-320K-230/ HTD-626B/ HTD-628SP/ SCF-A01/ HTD-624SS/ HTD-622AS

% The customer provides the above information ,to which the company assumes no responsibility for the

authenticity.

Sample No.«-+-weeeeeee

Sample Received Date-
Completion Date:----+-

Report Issue Date -+

Test Information:

: S240605030~035

: Jun.05.2024

: Jun.13.2024

: Jul.02.2024

No. Item Test Result
1 Stress Testing See Appendix 2
Approved:
Shenzhen Meixin Te Go., Ltd.
: )
Room 1108,R&D Building,Founder Science Park,North of Songbai Road,Shiyan Street,Bao'an District, uangdong,China

Meixin Testing Technology Co., Ltd. | Tel:400-850-4050 | E-mail:sales@mttlab.com | www.mttlab.com
YN SR AZRIBAM AT IR AT | )28 BRI 22 XA A R (A B AL 7 IER M Tk PR B 1108 =




[image: image4.png]NTT=E=

TEST REPORT

Report No: MS240605018E-01

Appendix 2
Test Item: Stress Testing
1. Environment Condition:
Temperature: 23.3°C;  Relative humidity: 48%R.H;

2. Test Samples:

Page 4 of 7

Sample No. Sample name Model Quantity Sample description
S240605030 floor box HTD-320K-230 Ipc solid
$240605031 floor box HTD-626B Ipc solid
S240605032 floor box HTD-628SP Ipc solid
S240605033 floor box SCF-A01 1pc solid
$240605034 floor box HTD-624SS 1pc solid
$240605035 floor box HTD-622AS 1pc solid
3. Test Equipment:
No. Name Model No. Calibration date
1 Electronic universal testing machine EUT4304 Jun.12.2024

4. Testing Standard:

According to customer requirements
5. Test Conditions:

Test speed: Imm/min

Force of 1000 N

Test position: Frontal

Room 1108,R&D Building,Founder Science Park,North of Songbai Road,Shiyan Street,Bao'an District,Shenzhen,Guangdong,China

Shenzhen Meixin Testing Technology Co., Ltd. | Tel:400-850-4050 | E-mail:sales@mttlab.com | www.mttlab.com
RIS AZRM B AN AT PRA ] | A48 BRI 542 XA A 8 1 A BRI 7 IE R Tl el R B 1108 =2

b}





[image: image18.jpg]=
—




[image: image19.png]Certificate of Registration

Wenzhou Sifuweler Electrician Co.Ltd.

et st Kiguang i Zone L T Yuar Gy, oo o, Ziary
Bt v o i i Co. 1)

Proeton s anses 20 . Frun Gt Yaars A, G i T,
ars Gy e Co oo

Environmental Management System
i s i o s o

GBIT 24001-2016/1SO 14001:2015

T o Sl 5 s i s .

e ety

) )

=

P—

D

Rl

panmuE

R

et P e iy




Product Show: 

[image: image20.png]Certificate of Registration

Wenzhou Sifuwei Electric Co, Ltd

et s Kuar i Zae, L T Yosarg Gy, Werho o, Ziry
B v g e s 5. 1)

Froeton Bsess st 20 . Fruns G Yanans A, g i T
ears G s Co P

Environmental Management System
o i P e o

GBIT 24001-2016/1SO 14001:2015

) )

T g Z‘§E )\

s

Rl

nammE

R i i ey 0 o it

e T





[image: image21.jpg]SAFEWIRE

HTD-628-SS




[image: image22.jpg]SAFEWIRE

HTD-628-SP




[image: image23.jpg]SAFEWIRE

HTD-628-AS




[image: image24.jpg]HTD-628AS



[image: image25.jpg]



[image: image26.png]SAFEWIRE

45 Type Function Accessories

a . 8 o
v so so oo

LRRES = o fe)
g @ © © B 9 ° |9 [

RUSCuS el o sl SNCucks  giSeoss  OMegpmn)  Adowcst  Vedowos  Seowcis  USS

& lof |8 m |





Available sockets or modules types:
[image: image27.jpg]SAFEWIRE

HTD-628AS-4524




[image: image28.jpg]SAFEWIRE

HTD-628AS-45



[image: image29.jpg]



[image: image30.png]170

Filling bit size: 290X170mm
Filling height: max 28mm
Iron plate size: 286X165X4mm

Padding bit

p 290

g

0
8

Iron plate

286




HTD-626AS Outline drawing:

[image: image5.jpg]SAFEWIRE

HTD-628AS outline Units:mm




[image: image31.jpg]SafeWire

Package solution

Access floor socket Socket with Plastic film boxes with polyfoam

Socket with kraft paper Socket into inner box Put to pallet

Master carton with

Deliver the goods
shrink film with pallet to you on time

Warehouse




[image: image32.jpg]



Package:4 Pcs inner box into a master carton.Poly bag with box packing.

[image: image33.jpg]210-215 (mm)

305-310 (mm)

CUT OUT SIZE




Installation instructions:

[image: image34.jpg]Installation depth(mm): 76--110
Plug top clearance(mm): 14--48

Lo —

11




[image: image35.jpg]


[image: image36.jpg]


[image: image37.jpg]


[image: image38.jpg]1.For raised floor






For screed floor

[image: image6.png]


[image: image7.png]



                                  （2）
[image: image8.png]



（3）     

[image: image9.png]


  [image: image10.png]



                                    (5)
INSTALLATION

Important: Installation works can only be carried out by professional electricians with skill certificates issued accordingly to local health and safety regulations!

1. Prepare a hole in the floor corresponding to the installation dimensions of a given model 

2. Detach the cover from the box, and then unscrew the mounting frame of the modules.

3. Install the modules of your choice into the mounting frame .

4. Pull all necessary wires through the floor box and connect the modules to the wires.

5. Screw the mounting frame with installed modules to the floor box .

6. Place the box with the sockets in the previously prepared hole.

7. Adjust the height of the box and the module frame using the screws on the side of the unit .

8. Tighten the box to the floor using the screws on the side of the unit .

9. Install the cover of the box back into the hinges .

10. Cut the floor material matching the recess in the cover and glue it to the cover

CLEANING AND MAINTENANCE

Any maintenance work must be done when the product is disconnected from power supply.  Clean only with soft and dry cloths.  Do not use chemical detergents.
Attentions:

1.Dispose of trash in bottom box and prevent dirt and debris from entering inside.

2.The sealing ring is closely attached to the smooth surface to prevent water leakage.

3.When installing, pay attention to the opening direction,the length of the conductor to the bottom box shall not exceed 10cm,Set aside at least 200mm of cable.

4.When installing and wiring,Product should avoid direct contact with corrosive liquid, gas (strong acid, strong alkali, paint).

5.Please close cover when not used.
Safety Warning：

1.This is a class I product and must be earthed

2.This product must be installed/wired by a qualified electrician

3.For indoor use only.
4.For concrete floor/access floor.base on different bottom box.
(Image is for reference only.)








(7)





(5)





(2)





(1)





(4)





(3)





(5)





(6)





��








                             
  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com

