Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME: USB charger

PRODUCT No.:    F9

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-577-62799688

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Environmental Requirements:

Working temperature/Humidity: -10℃~+ 40℃/20%~90%RH

Storage temperature/Humidity: -20℃~+85℃/10%~95%RH

USB Characteristic:

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | PC 94-V0 |
| 2 | Inside material | Tin phosphorous bronze |
| 3 | Surface finish | Glossy |
| 4 | USB DC output | 2.1A/5V |
| 5 | Output voltage tolerance | ±5% |
| 6 | Output power | Max.18W |
| 7 | Service life in hours | 3000h 18W |
| - 8 | Efficiency | 78% |
| 9 | No-load power consumption | Max 0.2W |
| 10 | Input voltage | 100~240v/AC 50~60Hz |
| 11 | Color | White RAL9003 Black |
| 12 | Number of terminals | 1 screw terminals |
| 13 | Electrical insulation class | Class II |
| 14 | IK degree of protection | IK04 |
| 15 | IP degree of protection | IP21 |
| 16 | Dimension of product | 45*45*37mm |
| 17 | Weight | ≈40g |

Feature:

1.Shell is made of high quality fire retardant PC material, up to the European environmental requirements, burning non-toxic.

2.Inside Material is made of Tin phosphorous bronze, with good electrical conductivity, not easily deformed.

3.Built-in automatic recovery fuse,more safe.

4. Automatically adjust charging Wattage.

5.USB charging interface, support more USB devices to charging at the same time.

6.2100 MA output current,can reduce charging time.

7.Compatibility: iPod, iPhone, iPad, Tablets, Mobile Phones, MP3 Bluetooth Headsets, GPS & more.

Product show

F9 outline drawing

Advantage

- Current tester

Current tes

Current tester

Current tester

dielectric strength tester

insulation resistance tester

- 1.5...2.5mm²for stranded cable（s）

- 1.5...2.5mm²for flexible cable（s）

- 1.5...2.5mm²for rigid cable（s）

- 1).Dual port USB charger of 2.1A 5VDC;

- 2). Protection type: Short time short-circuit protection;

- 3).With identifying chip: can automatically recognize different mobiles and suit its request charging AMP to meet the charging speed;

- 4) IEC60950 FOR LVD and IEC55024,IEC61000 for EMC;

- 5). All materials be ROHS directive tested

Application :

Home/Office/Hotels/Libaries/Training Rooms/Meeting Rooms and Conference halls Multi-Media Networking system etc.

For desktop power, floor boxes, trunking system,wall switches:

4.Safety Warning:

- 1.For indoor use only.

2.This product must be installed/wired by a qualified electrician.

5.Attentions:

1.Protect children from touch skirt of USB port.

2.Ensure current and voltage as rating current/voltage .Do not overload

3.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

Package:10 Pcs inner box into a master carton.Poly bag with box packing.