Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:   Pop up floor socket/Serviced power

PRODUCT No.:          HTD-18

Address:2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604

Tel:0086-577-61725369

Mob:0086-18612380398

ZIP:325604

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Technical parameters & characteristic :

- Working environment:

- The environment temperature:-5℃~/40℃

- The rated voltage：100V~~250V

- Rated current：10A、13A、16A、20A

- Characteristic:

| 1 | Model | HTD-18 | 6 | HS Code | 8536690000 |
| --- | --- | --- | --- | --- | --- |
| 2 | Brand Name | Safewire or OEM brand | 7 | Market standard | Customized |
| 3 | Type | floor socket | 8 | Place of origin | Zhejiang , Wenzhou, China |
| 4 | Color | Golden, silver | 9 | Frequency | 50Hz~60Hz |
| 5 | Grounding | Standard grounding | 10 | Current Type | AC |

- Technical parameters :

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Panel Material | Brass alloy/Alu alloy |
| 2 | Surface finish | Wire drawing/Polishing/Spray painting |
| 3 | Panel Dimension(mm) | 128*120 |
| 4 | Cutout(mm) | 103*103 |
| 5 | Capacity of modules | 3 ways modules |
| 6 | Bracket material | Zinc Alloy & Alu Alloy |
| 7 | Sink box Thickness | 1.2mm |
| 8 | Sink box Material | Steel+Zinc plated |
| 9 | Available modules | 45*45/45*22.5(mm) |
| 10 | Damping device (DP) | Normal Pop-up & Soft Pop-up available |
| 11 | N.W(kg) | 1.00 (Brass alloy);0.76(Alu alloy) |
| 12 | G.W(kg) | 20.8 (Brass alloy);15.8(Alu alloy) |
| 13 | Carton size(cm) | 41.5x27x27 |

Application：

- Office and education

- Industry and Engineering

- Presentation and retail;

- Orientation and safety;

- Transit areas and parking;

- Hotels, hospitality and wellness;

- Health, sport and leisure;

- Art and culture;

CE certificate by TUV,Germany

LVD test report

Product Show:

Silver color

Bottom box

Brass color

- Features:

- Fast-wiring: more terminal block for 1~2.5m²rigid wire or 0.5~6m²prepared flexible wire.

- Easy-Installation: Patented technology of clip flush mounting frame of modules replacement. Save labor cost.

- Reliable push button: ＞5000 times.

Available for F type 45*45mm type or D type22.5*45mm international sockets or modules types:

HTD-18 Outline drawing:

(Image is for reference only.)

Package:20 Pcs inner box into a master carton.Poly bag with box packing.

Installation Guide

- Cut out size ：103*103mm.Install the bottom box with panel into the specified location.

- Screw mounting frame and panel(for desktop only).

- Fix the panel and bottom box with screws(This item is for ground installation only).

- ADjust the tightness of all wiring lines (no influence on opening).

(1)

(2)

(3)

(4)

Attentions:

- 1.Dispose of trash in bottom box and prevent dirt and debris from entering inside.

- 2.Prevent from corrosive liquid, gas (strong acid, strong alkali, paint)and humidity.

- 3.When installing, pay attention to the opening direction,the length of the conductor to the bottom box shall not exceed 10cm,Set aside at least 200mm of cable.

- 4. All dimension quoted are nominal only. Drawings , images and text are for illustrative perposes only and product details and dimension are subject to change without notice.

- 5.Make sure that the sealing under plate will be jointed tightly with the earth’s surface,avoiding seepage

Safety Warning：

- 1.This is a class I product and must be earthed

- 2.This product must be installed/wired by a qualified electrician

- 3.For indoor use only.

- 4.For concrete floor.