[image: image17.png]SAFEWIRE



           Wenzhou Safewire Electric Co.,Ltd.
2nd floor, Wealth Garden, Liushi town, Yueqing,  Wenzhou,China ,325604   

Wenzhou Safewire Electric CO.,Ltd.
SPECIFICATION  SHEET
PRODUCT NAME:  Onfloor Aluminum Profile

PRODUCT No   :     FZ-532-B    

[image: image1.jpg]-~

SAFEWIRE

FZ-532B-S



[image: image2.jpg]SAFEWIRE

FZ-532B-B




Address:2nd floor, Wealth Garden, Liushi town, Yueqing, Wenzhou , China, 325604

Tel:0086-577-61725369        ZIP:325604       Mob:0086-18612380398

Technical parameters & characteristic :

	Serial No.
	Parameter
	Description

	1
	Power supply side
	Two side

	2
	Item
	FZ-532B

	3
	Panel Material
	Aluminum alloy/Stainless steel

	4
	Surface finish
	Painted/Brushed Oxygenated

	5
	Height of product(mm)
	647.5（Body:577.5 Base:40 top:30 customizable）

	7
	Dimension (mm)
	160*220

	8
	Capacity of modules(mm) 
	45*45/45*22.5(mm) modules and 86 type switch socket 

	9
	Configuration
	Power outlet+Data outlet or USB charging+HDMI+VGA+Audio socket : Customized as required


Product Show:
[image: image3.png]


 [image: image4.png]



[image: image5.jpg]



Regarding the wires, our company recommends using copper-core wires with a diameter of 2.5mm or larger. It is essential to select high-quality copper wires that comply with national standards (such as GB/T 5023), and avoid using inferior or aluminum wires.
Module Introduction
Available for 45*45 and 22.5*45 mm type international sockets or modules types:

[image: image6.png]<3

gy





[image: image7.png][*—21.7-

23—

52




[image: image8.png]L
ol s
& |
S| = J I @
5 o D)
< = [ oV 1 [
-—45.0—
45.0 45,0 45 .0





[image: image9.png]



Available for 86 type switch sockets or modules types: [image: image10.png]



The image is for reference only. Please rely mainly on the actual object.

External dimensions drawing (unit :mm)     [image: image11.png]


[image: image12.png]



The parameters are for reference only. Please refer to the actual product
Installation Process

1.Open the package and remove the screws that connect the product.

2.Pass the cable through the hole in the mounting plate and fix the mounting plate to the floor surface.

3.Connect the electrical installation / information / multimedia modules of the 45x45 standard.

4.Install the connected modules in the profile.

5.Fix the cover to the profile (screws are included).
[image: image13.png]


[image: image14.png]



Exploded View of Column-Mounted Workstation (with Modules)
[image: image15.png]



All dimension quoted are nominal only. Drawings , images and text are for illustrative purposes only and product details and dimension are subject to change without notice.
Safety Warning:
IMPORTANT: Read all instructions before installing Onfloor Aluminum Profile.

[image: image16.jpg]/N WARNING /MN\ /\ CAUTION N\ ——

2.‘“ RISK OF SHOCK, DISCONNECT Onfl(_)or Alumi_ngm Profile should be_- instal_led by a
‘ POWER BEFORE INSTALLATION. qualied electrlci\)r::;r; slzcé?giz?:c)ed\év;t.h national and

N\ WARNING A\

+Thisis a Class | product and must be reliably earthed (grounded).

« This product must be installed and wired by a qualified electrician.

« Before performing any installation or maintenance, ensure the mains supply is switched switched off and the circuit fuses are
removed or the circuit breakers are switched off.

+ Disasembly or repair by unqualified personnel is strictly prohibited. There are no user-serviceable parts inside.When
disconnecting the plug, grip the plug body itself. Do not pull the cord.Place the power strip where it is inaccessible to children.

+ Unplug the power strip from the wall outlet during prolonged periods of non-use.





Thank you for choosing the products of Safewire!
  Tel:0086-577-61725369； Email:happyhe@safewirele.com;     http://www.safewirele.com
[image: image17.png]

