Wenzhou Safewire Electric CO.,Ltd.

SPECIFICATION  SHEET

PRODUCT NAME:  LAN KEYSTONE WITH LAN CABLE

PRODUCT No. :    R-NE-68B-KSB

ADD: 152 xinguang industrial zone, yueqing city, zhejiang province

（TEL）:0086-18612380398

（E-mail）：info@safewirele.com

(WEB):  http://www.safewirele.com

Product Details

| Serial No. | Parameter | Description |
| --- | --- | --- |
| 1 | Type | RJ45 Jack+1.0M LAN cable |
| 2 | Material | ABS |
| 3 | Female RJ45 LAN Keystone | CAT5e,Unshielded ABS plastic RJ45 Jack/Jack;TIA/EIA:568A/B |
| 4 | Angle of female RJ45 LAN Keystone | 180° |
| 5 | Color of RJ45 LAN Keystone | White/Black optional |
| 6 | RJ45 LAN Keystone Material | Plating 50U is optional |
| 7 | LAN Cable with hook | The distance from the LAN connection completion position to the anti-bending area shall be 20 mm |
| 8 | Angle of male adaptor | 180° |
| 9 | LAN cable material | ABS |
| 10 | Length | 0.8~1M |

Drawing Line：

Features:

- CAT5e,Unshielded ABS plastic RJ45 Jack/Jack;TIA/EIA:568A/B.

- It maintains the same shape and HOOK as the USB KEYSTONE CABLE above.

- The distance from the LAN connection completion position to the anti-bending area shall be 20 mm.

Attentions:

1. Use in dry places only.

2.Please plug into cable completely.

3.For your safety, please don’t plug by wet hands.

4. This keystone and cable length is customization production.